## Explanation
South Central Public Power District
Irrigation Data for 2001, 2002, 2003
Areas South of the Little Blue River
COMMENTS: | Single Phase services are noted with an "X" in the "F" column.
To the extent that we think we know, how the single phase energy is
|  | used is noted in the "G" column: Well |  | means
|  |  | Reuse | means
|  |  | Pond | means
|  |  | Towers | means
|  |  | ? | means
| We tried to identify small three-phase wells in the Republican Valley. |  |  |  | Energy used to pump from a well
|  | They are noted in the "G" column. If "well" appears in "G" and there is no "X" in "F", it is 3 phase |  |  | Energy used to pump from a reuse pit.
Energy used to pump from a dam/pond.
| Away from the valley, virtually all services rated at or below 15 HP either drive pivots |  |  |  | Energy used to drive a pivot system.
|  | or pump reuse water. |  |  | We do not know
Obviously, virtually every load rated above 25 HP involves pumping from a well.
If an odd HP is listed, a pivot is probably in use. For example, 90 HP would imply
a 75 HP well and a 15 HP pivot system. Motors come in the following
sizes: 25, 30, 40, 50, 60 ,75, 100; so any rating a little above that implies
a pivot system. Most pivots deliver water from a 60, 75 or 100 HP well.
We do not keep accurate records of how electricity sold for irrigation purposes
is used. Information provided here with regard to how the energy is used
reflects our "recollection" and some field survey work; and is NOT 100%
accurate. It does represent our best efforts given the time allowed.

## ORIGINAL_DATA
|  | kWh | kWh | Single | S.P.
Ref# | HP | 2001 | 2002 | Phase? | Use
1 | 5 | 1277 | 2636 | X | Well
2 | 30 | 26119 | 31421
3 | 40 | 32980 | 34620
4 | 25 | 16819 | 23190 | X | Wells
5 | 10 | 340 | 679 | X | Reuse
6 | 7.5 | 8433 | 8464 | X | Pond
7 | 90 | 41720 | 77360
8 | 60 | 32975 | 63279
9 | 10 | 2689 | 3668 | X | Towers
10 | 80 | 36360 | 53760
11 | 122 | 113337 | 155240
12 | 15 | 9909 | 10599
13 | 34 | 22880 | 26480
14 | 54 | 43000 | 58400
15 | 60 | 53852 | 54181
16 | 20 | 16923 | 27365
17 | 45 | 0 | 0
18 | 50 | 0 | 0
19 | 55 | 18418 | 52678
20 | 40 | 24653 | 27725
21 | 40 | 34990 | 44419
22 | 7.5 | 4582 | 3414
23 | 10 | 1979 | 3321 | X | Towers
24 | 40 | 23682 | 33579
25 | 8 | 438 | 1166 | X | Towers
26 | 10 | 1776 | 2524 | X | Towers
27 | 9 | 1327 | 1315 | X | Towers
28 | 10 | 1607 | 930 | X | Towers
29 | 10 | 0 | 0 | X | Towers
30 | 25 | 9646 | 14605 | X | Well
31 | 7 | 0 | 0 | X | Towers
32 | 10 | 1176 | 1517 | X | Towers
33 | 10 | 845 | 1715 | X | Towers
34 | 10 | 2195 | 1961 | X | Towers
35 | 10 | 1000 | 1386 | X | Towers
36 | 10 | 2690 | 2683 | X | Towers
37 | 10 | 137 | 154 | X | Reuse
38 | 81 | 48920 | 56320
39 | 68 | 30800 | 62000
40 | 91 | 31130 | 53249
41 | 30 | 17267 | 46226
42 | 85 | 45946 | 67942
43 | 40 | 58720 | 91360
44 | 10 | 0 | 433
45 | 8 | 1460 | 1600 | X | Towers
46 | 10 | 1832 | 2916 | X | Towers
47 | 15 | 855 | 1646 | X | Towers
48 | 7.5 | 1270 | 2686 | X | Reuse
49 | 10 | 1985 | 2938 | X | Towers
50 | 30 | 0 | 0
51 | 40 | 489 | 645
52 | 20 | 1542 | 2683
53 | 60.5 | 31560 | 43200
54 | 25 | 9262 | 29352
55 | 74 | 32820 | 49875
56 | 10 | 775 | 803 | X | Towers
57 | 8 | 606 | 1325 | X | Towers
58 | 6 | 0 | 0 | X | Towers
59 | 35.5 | 36328 | 37550
60 | 10 | 1500 | 2651 | X | Well
61 | 10 | 10 | 505
62 | 31 | 25630 | 28883
63 | 55 | 24480 | 35400
64 | 65 | 23640 | 37960
65 | 10 | 6222 | 6825 | X | Well
66 | 40 | 12128 | 24120
67 | 10 | 10224 | 18572 |  | Well
68 | 10 | 2216 | 2114 | X | Well
69 | 3 | 0 | 4762 | X | Well
70 | 6 | 7765 | 13061 | X | Well
71 | 33 | 21414 | 28315 | X | Well
72 | 16 | 0 | 0 | X | Well
73 | 65 | 40800 | 46700
74 | 10 | 1086 | 11756 | X | Well
75 | 10 | 2925 | 9904 | X | Well
76 | 30 | 9321 | 24252
77 | 25 | 13900 | 24500
78 | 20 | 8920 | 9934
79 | 25 | 23730 | 34180
80 | 80 | 32900 | 47700
81 | 45 | 0 | 0
82 | 30 | 11583 | 10080
83 | 20 | 4729 | 11139
84 | 70 | 11180 | 31000
85 | 60 | 15400 | 38200
86 | 10 | 640 | 2180 |  | ?
87 | 48 | 18700 | 37700
88 | 15 | 18804 | 23019 | X | Well
89 | 10 | 5363 | 65 | X | Well
90 | 7.5 | 2601 | 4952 | X | Well
91 | 32.5 | 27530 | 28423
92 | 10 | 40840 | 20945 |  | Well
93 | 30 | 26700 | 111500
94 | 25 | 19811 | 23358 | X | Well
95 | 68.25 | 41126 | 64688
96 | 30 | 42282 | 24008
97 | 24 | 21775 | 37575
98 | 7.5 | 42529 | 18544 |  | Well
99 | 5 | 1423 | 1693 | X | Canal
100 | 15 | 1400 | 1400 |  | Well
101 | 15 | 4037 | 22116 |  | Well
102 | 7.5 | 122 | 487 | X | Canal
103 | 20 | 5909 | 10871 | X | Towers
104 | 10 | 4665 | 6966 | X | Well
105 | 5 | 1391 | 2185 | X | Canal
106 | 5 | 1687 | 2151 | X | Canal
107 | 10 | 3569 | 8066 | X | Towers
108 | 15 | 3538 | 6225 | X | Well
109 | 7.5 | 2574 | 2950 | X | Canal
110 | 7.5 | 4662 | 5813 | X | Reuse
111 | 58 | 13843 | 28667
112 | 7.5 | 1333 | 7264 | X | Well
114 | 15 | 3036 | 4380 | X | Well
115 | 10 | 14999 | 13954 | 3p | Well
116 | 10 | 3210 | 8070 | 3p | Reuse
117 | 25 | 8941 | 19752 | 3p | Well
118 | 5 | 2894 | 4962 | X | Well
119 | 10 | 0 | 1801 | 3p | Towers
120 | 50 | 23300 | 37200
121 | 60 | 26300 | 34300
122 | 86 | 28000 | 60400
123 | 10 | 1003 | 1712 |  | Well
124 | 10 | 0 | 0 |  | Well
125 | 10 | 1307 | 1300 | X | Canal
126 | 7.5 | 2340 | 4732
127 | 10 | 5754 | 3071 | X | ?
128 | 7.5 | 4214 | 8120
129 | 17.5 | 3691 | 4724
130 | 50 | 17100 | 32945
131 | 20 | 9456 | 12369
132 | 5 | 1279 | 534 | X | Reuse
133 | 10 | 2293 | 2356
134 | 7.5 | 1047 | 3750 | X | Well
135 | 25 | 7225 | 11461
136 | 12 | 1801 | 3329
137 | 32 | 11396 | 15818
138 | 10 | 463 | 2060 | X | ?
139 | 30 | 0 | 22274
140 | 17.5 | 6211 | 8890 | X | Reuse
141 | 10 | 372 | 4058 | X | Well
142 | 5 | 48 | 2142 | X | Well
143 | 7.5 | 3043 | 3285 | X | Canal
144 | 10 | 1165 | 1771 | X | Towers
145 | 8 | 634 | 1195 | X | Towers
146 | 10 | 4041 | 8051 | X | Well
147 | 10 | 2558 | 3421 | X | Towers
148 | 15 | 320 | 1573 | X | Towers
149 | 8 | 451 | 999 | X | Towers
150 | 16 | 2023 | 3233 | X | Towers
151 | 8 | 1961 | 3094 | X | Towers
152 | 10 | 992 | 1435 | X | Towers
153 | 9.25 | 985 | 2233 | X | Towers
154 | 10 | 0 | 2556 | X | Towers
155 | 50 | 43600 | 44920
156 | 75 | 32720 | 65760
157 | 68 | 0 | 16360
158 | 83 | 0 | 119120
159 | 90 | 0 | 92880
160 | 83 | 0 | 24480
161 | 15 | 0 | 7306 |  | Well
162 | 2 | 2357 | 3503 | X | Well
163 | 5 | 1208 | 1751 | X | Canal
164 | 5 | 0 | 0 | X | Well
165 | 7.5 | 105 | 0 | X | Reuse
166 | 10 | 2101 | 1510 | X | Well
167 | 35 | 32418 | 50507
168 | 3 | 2774 | 3514 |  | Well
169 | 10 | 0 | 7762 | X | ?
170 | 72 | 39840 | 52840
171 | 75 | 48800 | 70680
172 | 121 | 58760 | 76160
173 | 108 | 62680 | 87120
174 | 88 | 65960 | 66200
175 | 10 | 173 | 306 |  | ?
176 | 30 | 5600 | 10520
177 | 90 | 25320 | 35400
178 | 74.3 | 33920 | 55120
179 | 56 | 15900 | 29800
180 | 90 | 0 | 0
181 | 10 | 671 | 739 |  | Towers
182 | 10 | 324 | 634 |  | Towers
183 | 18 | 10 | 16
184 | 15 | 3493 | 6513
185 | 15 | 10855 | 15010
186 | 7.5 | 2 | 0 | X | Reuse
187 | 10 | 400 | 400
188 | 15 | 6032 | 9508
189 | 10 | 0 | 6827 | X | ?
190 | 10 | 5637 | 3546 | X | ?
191 | 10 | 0 | 6281 | X | ?
192 | 81.5 | 49920 | 69400
193 | 83.5 | 45600 | 61320
194 | 10 | 897 | 1253 | X | Reuse
195 | 10 | 3890 | 6251 |  | Towers
196 | 30 | 8256 | 12859
197 | 25 | 8084 | 12028
198 | 15 | 59410 | 76960 |  | Well
199 | 20 | 33463 | 45373
200 | 5 | 1360 | 0 | X | Well
201 | 10 | 4597 | 6232 | X | Well
202 | 7.5 | 0 | 220 | X | ?
203 | 68 | 37400 | 68520
204 | 60 | 16200 | 32440
205 | 60 | 39970 | 60020
206 | 92 | 45800 | 52000
207 | 10 | 4053 | 6063 |  | ?
208 | 8 | 0 | 0 | X | ?
209 | 15 | 2256 | 3565 |  | ?
210 | 75 | 42000 | 49080
211 | 5 | 1548 | 2179 | X | ?
212 | 90 | 60200 | 68080
213 | 65 | 30240 | 51560
214 | 18 | 4710 | 6446
215 | 16 | 20015 | 16268
216 | 10 | 1741 | 1949 | X
217 | 75 | 40560 | 48640
218 | 30 | 8978 | 26896
219 | 65 | 35640 | 44920
220 | 75 | 30520 | 55160
221 | 15 | 0 | 0 |  | Well
222 | 10 | 0 | 0 |  | Towers
223 | 40 | 15175 | 24898
224 | 95 | 33880 | 69040
225 | 10 | 5962 | 6089 | X | Well
226 | 15 | 0 | 4530 | X | Well
227 | 85 | 0 | 52840
228 | 10 | 5245 | 8851 | X | Well
229 | 5 | 2915 | 4494 | X | Well
230 | 7.5 | 1130 | 3230 | X | Well
231 | 10 | 2852 | 5147 | X | Well
232 | 5 | 390 | 0 | X | Reuse
233 | 5 | 650 | 440 | X | Reuse
234 | 10 | 1552 | 5484 | X | Well
235 | 10 | 2134 | 4748 | X | Well
236 | 10 | 0 | 6597 | X | Well
237 | 7.5 | 0 | 1421 | X | Canal
238 | 30 | 0 | 11553
239 | 10 | 8449 | 4425 | X | Well
240 | 100 | 0 | 0
241 | 100 | 0 | 0
242 | 10 | 2240 | 4270 | X | Reuse
243 | 5 | 5599 | 4038 | X | Well
244 | 5 | 2130 | 4451 | X | Well
245 | 15 | 4580 | 8870 | X | Well
246 | 5 | 5540 | 7260 | X | Well
247 | 10 | 4646 | 7265 | X | Towers
248 | 7 | 690 | 1086 |  | Towers
249 | 10.5 | 5573 | 14606 |  | Well
250 | 10 | 96 | 2314 |  | Towers
251 | 25 | 12120 | 20810 | X | Well
252 | 5 | 4100 | 6145 | X | Well
253 | 7.5 | 7250 | 9170 | X | Well
254 | 7.5 | 5457 | 7175 | X | Well
255 | 7.5 | 7697 | 9470 | X | Well
256 | 7.5 | 5995 | 11201 | X | Well
257 | 7.5 | 204 | 114 | X | Canal
258 | 5 | 1340 | 2260 | X | Canal
259 | 10 | 948 | 2288 |  | Canal
260 | 5 | 2576 | 2448 | X | Reuse
261 | 10 | 4766 | 9115 |  | Canal
262 | 10 | 4199 | 6342 | X | Well
263 | 15 | 9990 | 14750 | X | Well
264 | 5 | 2990 | 3580 | X | ?
265 | 5 | 410 | 2410 | X | ?
266 | 50 | 34700 | 48600
267 | 75 | 50100 | 70400
268 | 70 | 60400 | 68400
269 | 50 | 53924 | 57107
270 | 10 | 3529 | 4471 | X
271 | 5 | 600 | 340 | X
272 | 67 | 31080 | 53760
273 | 50 | 25500 | 48300
274 | 10 | 4220 | 1455 | X
275 | 10 | 458 | 3504 | X
276 | 20 | 2174 | 5659 | X
277 | 15 | 0 | 5652
278 | 10 | 1136 | 2892
279 | 70 | 37360 | 45000
280 | 74 | 47440 | 61080
281 | 78 | 41680 | 65040
282 | 85 | 29800 | 69600
283 | 15 | 1661 | 2802
284 | 80 | 0 | 0
285 | 10 | 550 | 811
286 | 10 | 3561 | 4484
287 | 50 | 48694 | 58392
288 | 7.5 | 4490 | 3680 | X
289 | 70 | 99840 | 35960
290 | 10 | 2553 | 7561
291 | 10 | 2799 | 9024
292 | 15 | 3803 | 6529
293 | 10 | 1512 | 2372 | X
294 | 10 | 600 | 848
295 | 10 | 3168 | 4713 | X
296 | 7.5 | 966 | 1824 | X
297 | 30 | 12982 | 19164
298 | 66 | 38960 | 55400
299 | 15 | 3809 | 8970
300 | 15 | 4200 | 2000
301 | 67 | 0 | 47440
302 | 75 | 55600 | 64900
303 | 35 | 8477 | 18663
304 | 13 | 1960 | 3820
305 | 85 | 46800 | 29900
306 | 8 | 1791 | 2257 | X
307 | 7.5 | 346 | 1 | X
308 | 40 | 37600 | 39000
309 | 10 | 46000 | 56960
310 | 10 | 546 | 516
311 | 8 | 427 | 499
312 | 10 | 2073 | 1791 | X
313 | 20 | 6530 | 13790
314 | 85 | 47720 | 77760
315 | 83 | 0 | 0
316 | 10 | 3766 | 4874 | X
317 | 7.5 | 8470 | 9497 | X
318 | 10 | 5505 | 7793 | X
319 | 50 | 0 | 16547
320 | 15 | 0 | 0
321 | 10 | 3484 | 5458 | X
322 | 10 | 3110 | 4846
323 | 10 | 0 | 0
324 | 60 | 0 | 30560
325 | 15 | 6230 | 2730 | X
326 | 15 | 0 | 0
327 | 48 | 38640 | 45360
328 | 25 | 0 | 29995
329 | 10 | 40 | 12221 | X
330 | 20 | 5781 | 12692
331 | 7.5 | 7200 | 4792
332 | 40 | 22198 | 21204
333 | 10 | 4365 | 8893
334 | 15 | 11820 | 15081 | X
335 | 90 | 45400 | 60800
336 | 45 | 10200 | 12000
337 | 10 | 6255 | 10534 | X
338 | 7.5 | 694 | 1449 | X
339 | 60 | 31700 | 35200
340 | 30 | 23100 | 34100
341 | 30 | 16435 | 24475
342 | 5 | 0 | 0 | X
343 | 10 | 8054 | 18035 | X
344 | 90 | 57480 | 68240
345 | 110 | 56840 | 73080
346 | 115 | 55560 | 78640
347 | 87 | 0 | 0
348 | 80 | 0 | 0
349 | 90 | 34600 | 63360
350 | 87 | 43320 | 56760
351 | 87 | 49320 | 68040
352 | 10 | 2009 | 3109 | X
353 | 25 | 8731 | 11724 | X