## Inputs
Computations of the CNPPID System Seepage Losses & Deliveries
Objective:
This wookbook is designed to compute the CNPPID System's seepage losses and deliveries.
| Methed: | See the linked document file |  |  | CanSeepDel2005.doc
| Use: | FIRST Copy previous year's values in each sheet for reference & cross-checking!
A user needs to update (replace) those values in the shaded cells & shaded rows ONLY!
After updating values, run macro ReShadeCells using Shortcut key CTRL+z.
Year | Month
2005 | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | TOTAL | Data File
| Month Apr: Medicine Creek Dam Net Evaporation, inches |  | MedicineCrDamNetEvap.xls
| 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 22.004
Central Diversion, AF
| 29102.1387 | 26223.768 | 29731.5627 | 33721.8 | 33908.544 | 91089.2427 | 134578.2747 | 96916.3333 | 25450.504 | 27597.44 | 25057.92 | 30634.1173 | 584011.6453 | CentralDataProcessing.xls
| Month Apr: Jeffrey hydro Discharge, AF |  | (MonthlyFlowAF sheet)
| 28439.2058 | 25222.3907 | 26931.8239 | 30519.733 | 30473.7213 | 83777.2271 | 122730.0968 | 89470.6697 | 21506.4492 | 26707.7671 | 25883.5583 | 28425.2023 | 540087.8452
Jeffrey Return, AF
| 0 | 0 | 0 | 179.056 | 5387.6347 | 5726.7333 | 50672.104 | 56830.2747 | 1922.8267 | 0 | 0 | 0 | 120718.6293
Diversion for E-65, AF
| 0 | 0 | 0 | 2124.368 | 5147.6533 | 6418.736 | 18061.592 | 11337.816 | 0 | 0 | 0 | 0 | 43090.1653
Diversion for Elwood, AF
| 0 | 0 | 0 | 0 | 936.448 | 6674.176 | 0 | 0 | 0 | 0 | 0 | 0 | 7610.624
Elwood outflow, AF
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diversion into E-67, AF
| 0 | 0 | 0 | 0 | 0 | 158.3893 | 1888.4836 | 1343.3829 | 0 | 0 | 0 | 0 | 3390.2559
J-1 discharge, AF
| 19263.881 | 20427.1758 | 17359.3985 | 19631.9743 | 11273.8565 | 49631.5754 | 28481.2165 | 17806.5117 | 5462.384 | 18052.5741 | 17215.362 | 21360.4122 | 245966.3219
J-2 hydro discharge, AF
| 18997.8136 | 20270.136 | 16896.2811 | 19488.938 | 10768.7285 | 49368.5088 | 28122.1255 | 17792.5082 | 4743.2018 | 17270.3759 | 16798.2563 | 20774.2637 | 241291.1373
Diversion into Phelps, AF
| 0 | 0 | 0 | 3461.7493 | 6210.4987 | 15222.736 | 32588.0267 | 20348.4827 | 0 | 0 | 0 | 0 | 77831.4933
J-2 Return,AF
| 18997.8136 | 20270.136 | 16896.2811 | 16027.1887 | 4558.2299 | 34145.7728 | -4465.9012 | -2555.9745 | 4743.2018 | 17270.3759 | 16798.2563 | 20774.2637 | 163459.644
| Month Apr: Elwood Reservoir Monthly Storage Change, AF |  | CentralDataProcessing.xls
| -552 | -393.25 | -422.5 | -534.5 | 323.25 | 4439 | -1340 | -901 | -714 | -680 | -591 | -610.15 |  | (MonElwoodStorChange sheet)
Annual Values in acre-feet
| Month Jan: Jeffrey Reservoir Storage Change; Month May: 110 |  | CentralDataProcessing.xls
| Month Jan: Johnson Reservoir Storage Change; Month May: 705 |  | (AnnualStorageChange sheet)
| J-2 Forebay Storage Change |  |  |  | 130
| Jeffrey Canal Storage Change |  |  |  | 142
| Johnson Canal Storage Change |  |  |  | -917
| Month Jan: E-65 Canal Delivery; Month May: 21162 |  | IRREFNCY.xls
| E-67 Canal Delivery |  |  |  | 3350
| Phelps Canal Delivery |  |  |  | 25382
| Month Jan: Diversion Dam to Jeffrey Direct Irrigation; Month May: 662 |  | Supply canal irrigation 2001 to 2005.xls
| Jeffrey Hydro to J-1 Hydro Direct Irrigation |  |  |  | 2206
| J-1 Hydro to J-2 Hydro Direct Irrigation |  |  |  | 147
| T. M. Siphon |  |  |  | 0

## 815 JeffHyd
Headgate to Jeffrey Hydro
| Mass Balances computed using annual totals. | [30 empty] | Medicine Creek Dam - Station No. 5388 | [12 empty] | Canal surface area = |  | 39937392 | ft^2
[47 empty] | 916.8364 | acres
[14 empty] | Change | Change | [20 empty] | Net Evaporation in [inches]
[14 empty] | in | in | Direct | [13 empty] | Total | [25 empty] | Annual
| Headgate Diversion in [ac-ft] | [12 empty] | Canal | Reservoir | Irrigation | Delivery (Jeffrey Hydro discharge) in [ac-ft] | [12 empty] | Reach | [12 empty] | Net Evaporation Loss in [ac-ft] | [12 empty] | Seepage | Ratio | Monthly Canal Seepage Loss in [ac-ft]
[13 empty] | Annual | Storage | Storage | Use | [12 empty] | Annual | Loss | [24 empty] | Annual | Loss | Annual Seepage / | [12 empty] | Annual
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | [ac-ft] | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | Annual Diversion | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
2004 | 23615.552 | 28405.0933 | 30989.9147 | 28127.513 | 61711.824 | 66543.0293 | 109293.352 | 108230.5067 | 31937.1093 | 21036.9935 | 25274.5067 | 27655.72 | 562821.1145 | -167 | -440 | 1035 | 27447.9546 | 30585.7497 | 31979.1027 | 28244.1564 | 57242.5039 | 62569.8537 | 100517.4687 | 102166.8866 | 23794.0288 | 24347.169 | 23798.0298 | 25784.5332 | 538477.4371 | 23915.6774 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 21.6985 | 35.3746 | -30.0264 | 218.6655 | 332.2768 | 160.37 | 9.7032 | 384.078 | 117.2022 | 96.7262 | 0.76403 | 71.5896 | 1418.4223 | 22497.2551 | 0.039972 | 943.968 | 1135.4169 | 1238.7382 | 1124.3214 | 2466.7636 | 2659.878 | 4368.7068 | 4326.2224 | 1276.5998 | 840.897 | 1010.2802 | 1105.4628 | 22497.2551
2005 | 29102.1387 | 26223.768 | 29731.5627 | 33721.8 | 33908.544 | 91089.2427 | 134578.2747 | 96916.3333 | 25450.504 | 27597.44 | 25057.92 | 30634.1173 | 584011.6453 | 142 | 110 | 662 | 28439.2058 | 25222.3907 | 26931.8239 | 30519.733 | 30473.7213 | 83777.2271 | 122730.0968 | 89470.6697 | 21506.4492 | 26707.7671 | 25883.5583 | 28425.2023 | 540087.8452 | 43009.8002 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 14.0582 | 43.7025 | -124.0021 | 209.5735 | 302.7852 | 147.2286 | 570.8834 | -46.7587 | 350.3079 | 97.5667 | 82.5153 | 33.3117 | 1681.1723 | 41328.6279 | 0.070767 | 2059.4649 | 1855.7718 | 2104.0072 | 2386.3834 | 2399.5987 | 6446.0931 | 9523.6721 | 6858.4575 | 1801.0504 | 1952.9822 | 1773.2685 | 2167.8781 | 41328.6279
[56 empty] | [Annual seepage | We have annual |  |  | Becareful: The ratio field is absolutely referenced when you create and copy formula.
[56 empty] | loss] computed as | totals of seepage
| Jan: Central diversion, change in canal storage, and change in Jeffrey reservoir storage derived from CentralDataProcessing.xls; |  | Change in reservoir/canal storage | [15 empty] | [Total reach loss] |  |  |  | Net Evaporation in [inches] copied from Station5388_NetEvap.xls | [22 empty] | and diversions, but
| Jan: Direct irrigation use was from Supply Canal irrigation 2001 to 2005.xls; |  | Values computed as | [15 empty] | computed as |  |  |  | For 2003, values are from MedicineCrDamNetET.xls | [21 empty] | [Total reach loss] - | monthly values only
| Jan: Both files are provided by Jeremie Kerkman of CNPPID. |  | [Dec 31 storage] - | [41 empty] | [net evaporation] | for diversions.
[14 empty] | [Jan 1 storage] | [15 empty] | [Headgate diversion] - |  |  |  | Monthly Data Source / Notes:
[30 empty] | [change in canal storage] - | [25 empty] | If this calculation | Thus, to compute
[30 empty] | [change in reservoir storage] - |  |  |  | Raw monthly pan evaporation and precipitation data in [inches] for Medicine Creek Dam | [21 empty] | yielded a negative | monthly seepage,
[14 empty] | Jeffrey | Jeffrey | [14 empty] | [direct irrigation use] - |  |  |  | (Station No. 5388) downloaded from DNR website, original source is EarthInfo data CD-ROM. | [21 empty] | value, the seepage | we computed a ratio
[14 empty] | Canal | Reservoir | [14 empty] | [delivery (Jeffrey | [25 empty] | loss was set to zero. | of the annual seepage
[14 empty] | Storage | Storage | [14 empty] | Hydro Discharge)] |  |  |  | Where zero values existed in the precipitation record (Jan - Dec) and where | [22 empty] | to the annual diversion.
zeros existed in the evaporation record (Apr - Oct), monthly average values
[34 empty] | were substituted. | [22 empty] | Monthly seepage
[14 empty] | Direct Irrigation Use is from: Supply canal irrigation 2001 to 2005.xls | [42 empty] | was then computed
[34 empty] | For months in which precipitation data was available but evaporation data was not (Jan, Feb, Mar, Dec), | [22 empty] | as a proportion
[34 empty] | zero values were assumed for net evaporation. | [22 empty] | of diversion.
Pan evap data multiplied by 0.7, then precipitation values subtracted from evaporation values to get
net evaporation.
A negative net evaporation value indicates a net gain in water to the system.
MedicineCrDamNetEvap05.xls

## 816 JeffHyd-J1
Jeffrey Hydro - J1 reach
| Mass Balances computed using annual totals. | [96 empty] | Medicine Creek Dam - Station No. 5388 | [14 empty] | Canal surface area = |  | 165094829 | ft^2
[115 empty] | 3790.0558 | acres
[27 empty] | Change | Change
[27 empty] | in | in |  | Direct |  |  | Here are Diversion for E-65!!! | [62 empty] | Total | [25 empty] | Annual
| Diversion (Jeffrey Hydro Discharge) in [ac-ft] | [12 empty] | Jeffrey River Return in [ac-ft] | [12 empty] | Canal | Reservoir | T.M. | Irrigation | E-65 Canal Irrigation Diversion in [ac-ft] (=E65 headgate diversion - Elwood inflow + Elwood outflow)* | [12 empty] | Elwood Reservoir outflow in [ac-ft] | [12 empty] | Elwood Reservoir Inflow in [ac-ft] | [12 empty] | E-67 System Diversion in [ac-ft] | [12 empty] | Delivery (Johnson #1 Hydro Discarge) in [ac-ft] | [12 empty] | Reach | Net Evaporation Loss in [inches] | [11 empty] | Net Evaporation Loss in [ac-ft] | [12 empty] | Seepage | Ratio | Monthly Canal Seepage Loss in [ac-ft]
[13 empty] | Annual | [12 empty] | Annual | Storage | Storage | Siphon | Use | [12 empty] | Annual | [12 empty] | Annual | [12 empty] | Annual | [12 empty] | Annual | [12 empty] | Annual | Loss | [24 empty] | Annual | Loss | Annual Seepage / | [12 empty] | Annual
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | [ac-ft] | [ac-ft] | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | Annual Diversion | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
2004 | 27447.9546 | 30585.7497 | 31979.1027 | 28244.1564 | 57242.5039 | 62569.8537 | 100517.4687 | 102166.8866 | 23794.0288 | 24347.169 | 23798.0298 | 25784.5332 | 538477.4371 | 0 | 0 | 0 | 564.6133 | 13350.9147 | 14267.0267 | 38055.0213 | 46797.6 | 2362.5307 | 0 | 0 | 0 | 115397.7067 | 617 | -235 | 0 | 4574 | 0 | 0 | 0 | 1389.3248 | 6210.3416 | 15167.2424 | 10633.248 | 13118.2907 | 0 | 0 | 0 | 0 | 46518.4475 | 0 | 0 | 0 | 0 | 0 | 0 | 7525.8907 | 15644.7493 | 0 | 0 | 0 | 0 | 23170.64 | 0 | 0 | 6102.536 | 14371.9486 | 12580.9491 | 3096.8002 | 0 | 0 | 0 | 0 | 0 | 0 | 36152.2339 | 0 | 0 | 0 | 15.872 | 67.7371 | 786.8379 | 1766.1403 | 2561.2117 | 430.2552 | 0 | 0 | 0 | 5628.0541 | 18909.7913 | 23917.06 | 15006.8024 | 4116.0429 | 11877.0093 | 18078.5807 | 30057.6159 | 40949.3756 | 273.0692 | 7023.7797 | 15552.9407 | 19838.0265 | 205600.0941 | 124224.9009 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 89.698 | 146.233 | -124.1243 | 903.9283 | 1373.5794 | 662.9439 | 40.1114 | 1587.7175 | 484.4955 | 399.8509 | 3.1584 | 295.9402 | 5863.5321 | 118361.3688 | 0.21981 | 6033.2658 | 6722.9766 | 7029.246 | 6208.2769 | 12582.3306 | 13753.3219 | 22094.4915 | 22457.0459 | 5230.1055 | 5351.6899 | 5230.985 | 5667.6333 | 118361.3688
2005 | 28439.2058 | 25222.3907 | 26931.8239 | 30519.733 | 30473.7213 | 83777.2271 | 122730.0968 | 89470.6697 | 21506.4492 | 26707.7671 | 25883.5583 | 28425.2023 | 540087.8452 | 0 | 0 | 0 | 179.056 | 5387.6347 | 5726.7333 | 50672.104 | 56830.2747 | 1922.8267 | 0 | 0 | 0 | 120718.6293 | -917 | 705 | 0 | 2206 | 0 | 0 | 0 | 2124.368 | 5147.6533 | 6418.736 | 18061.592 | 11337.816 | 0 | 0 | 0 | 0 | 43090.1653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 936.448 | 6674.176 | 0 | 0 | 0 | 0 | 0 | 0 | 7610.624 | 0 | 0 | 0 | 0 | 0 | 158.3893 | 1888.4836 | 1343.3829 | 0 | 0 | 0 | 0 | 3390.2559 | 19263.881 | 20427.1758 | 17359.3985 | 19631.9743 | 11273.8565 | 49631.5754 | 28481.2165 | 17806.5117 | 5462.384 | 18052.5741 | 17215.362 | 21360.4122 | 245966.3219 | 117317.8487 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 58.1142 | 180.6593 | -512.605 | 866.3436 | 1251.6659 | 608.6198 | 2359.9414 | -193.2928 | 1448.1171 | 403.3251 | 341.105 | 137.7054 | 6949.6989 | 110368.1498 | 0.20435 | 5811.6148 | 5154.2515 | 5503.578 | 6236.7752 | 6227.3726 | 17120.0623 | 25080.1677 | 18283.5299 | 4394.8906 | 5457.7915 | 5289.3626 | 5808.7532 | 110368.1498
.
[Total reach loss]
[27 empty] | According to Jeremie, T.M. Siphon has not | [68 empty] | computed as
been used in the past 4 years. An e-mail message
| Jan: Monthly diversion copied from CentralDataProcessing.xls; | [14 empty] | received on 12/03/03. | [30 empty] | Diversion for Elwood | [37 empty] | [Diversion (Jeffrey
[45 empty] | No Longer used since 2004 | [50 empty] | Hydro Discharge)] -
| Jan: Annual delivery copied from IRREFNCY.xls | [14 empty] | Johnson | Johnson |  | Jeffery to J1 | [65 empty] | [Jeffrey River Return] -
[27 empty] | Canal | Reservoir | [67 empty] | [change in canal storage] -
[change in reservoir storage] -
[T.M. Siphon] -
[direct irrigation use] -
([E-65 diversion] -
[96 empty] | [Elwood outflow] + | Elwood outflow is excluded since 2004
[Elwood inflow]) -
[E-67 diversion] -
[delivery (Johnson #1
Hydro Discharge)]

## 817 J1-J2
J1 - J2 reach
[45 empty] | Canal surface area: |  | 12897720 | ft^2
| Mass Balances computed using annual totals. | [29 empty] | Medicine Creek Dam - Station No. 5388 | [15 empty] | 296.0909 | acres
Change
[14 empty] | in | Direct | [13 empty] | Total | [25 empty] | Annual
| Diversion (Johnson #1 Hydro Discharge) in [ac-ft] | [12 empty] | Canal | Irrigation | Delivery (Johnson #2 Hydro Discharge) in [ac-ft] | [12 empty] | Reach | Net Evaporation Loss in [inches] | [11 empty] | Net Evaporation Loss in [ac-ft] | [12 empty] | Seepage | Ratio | Monthly Canal Seepage Loss in [ac-ft]
[13 empty] | Annual | Storage | Use | [12 empty] | Annual | Loss | [24 empty] | Annual | Loss | Annual Seepage / | [12 empty] | Annual
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | Annual Diversion | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
2004 | 18909.7913 | 23917.06 | 15006.8024 | 4116.0429 | 11877.0093 | 18078.5807 | 30057.6159 | 40949.3756 | 273.0692 | 7023.7797 | 15552.9407 | 19838.0265 | 205600.0941 | 390 | 273 | 18158.6009 | 23561.97 | 14662.7152 | 3653.9258 | 10994.7858 | 17400.4088 | 29727.5322 | 41217.4435 | 344.0872 | 5819.4745 | 14938.7851 | 19663.9824 | 200143.7116 | 4793.3825 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 7.0075 | 11.4242 | -9.697 | 70.6177 | 107.3083 | 51.7912 | 3.1336 | 124.0374 | 37.8503 | 31.2376 | 0.24674 | 23.1198 | 458.0773 | 4335.3052 | 0.021086 | 398.7338 | 504.3176 | 316.435 | 86.7913 | 250.4399 | 381.2069 | 633.798 | 863.4628 | 5.758 | 148.1042 | 327.9509 | 418.3067 | 4335.3052
2005 | 19263.881 | 20427.1758 | 17359.3985 | 19631.9743 | 11273.8565 | 49631.5754 | 28481.2165 | 17806.5117 | 5462.384 | 18052.5741 | 17215.362 | 21360.4122 | 245966.3219 | 130 | 147 | 18997.8136 | 20270.136 | 16896.2811 | 19488.938 | 10768.7285 | 49368.5088 | 28122.1255 | 17792.5082 | 4743.2018 | 17270.3759 | 16798.2563 | 20774.2637 | 241291.1373 | 4398.1846 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 4.5401 | 14.1137 | -40.0463 | 67.6814 | 97.784 | 47.5473 | 184.3659 | -15.1006 | 113.1314 | 31.509 | 26.6482 | 10.758 | 542.932 | 3855.2525 | 0.015674 | 301.9402 | 320.1736 | 272.0895 | 307.7097 | 176.7053 | 777.9206 | 446.4119 | 279.0976 | 85.6169 | 282.9543 | 269.8319 | 334.8011 | 3855.2525
| Jan: Monthly diversion copied from CentralDataProcessing.xls; | [16 empty] | [Total reach loss]
computed as
| Jan: Annual delivery copied from IRREFNCY.xls |  | J-2 Forebay
[Diversion (Johnson #1
Hydro Discharge)] -
[change in canal storage] -
[direct irrigation use] -
[Delivery (Johnson #2
Hydro Discharge)]

## 818 J2-Platte
J2 - Platte reach
[30 empty] | Medicine Creek Dam - Station No. 5388 | [13 empty] | Canal surface area = |  | 4092000 | ft^2
| Mass Balance computed using annual totals. | [44 empty] | 93.9394 | acres
Annual
[27 empty] | Platte | Total | [25 empty] | Annual
| Diversion (Johnson #2 Hydro Discharge) | [12 empty] | Phelps Canal System Diversion in [ac-ft] | [12 empty] | River | Reach | Net Evaporation Loss in [inches] | [11 empty] | Net Evaporation Loss in [ac-ft] | [12 empty] | Seepage | Ratio | Monthly Canal Seepage Loss in [ac-ft]
[13 empty] | Annual | [12 empty] | Annual | Return | Loss | [24 empty] | Annual | Loss | Annual Seepage / | [12 empty] | Annual
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | [ac-ft] | Annual Diversion | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
2004 | 18158.6009 | 23561.97 | 14662.7152 | 3653.9258 | 10994.7858 | 17400.4088 | 29727.5322 | 41217.4435 | 344.0872 | 5819.4745 | 14938.7851 | 19663.9824 | 200143.7116 | 0 | 0 | 0 | 5290.088 | 14180.6541 | 21931.4667 | 33686.584 | 45633.235 | 466.1573 | 0 | 0 | 0 | 121188.1851 | 96805.5282 | -17850.0017 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 2.2232 | 3.6245 | -3.0765 | 22.4045 | 34.0452 | 16.4316 | 0.99419 | 39.3528 | 12.0086 | 9.9106 | 0.078283 | 7.3351 | 145.3321 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2005 | 18997.8136 | 20270.136 | 16896.2811 | 19488.938 | 10768.7285 | 49368.5088 | 28122.1255 | 17792.5082 | 4743.2018 | 17270.3759 | 16798.2563 | 20774.2637 | 241291.1373 | 0 | 0 | 0 | 3461.7493 | 6210.4987 | 15222.736 | 32588.0267 | 20348.4827 | 0 | 0 | 0 | 0 | 77831.4933 | 163459.644 | 0 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 1.4404 | 4.4778 | -12.7053 | 21.473 | 31.0235 | 15.0851 | 58.4929 | -4.7909 | 35.8927 | 9.9967 | 8.4545 | 3.4131 | 172.2535 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly diversion copied from CentralDataProcessing.xls;
2000 value got from Jeremie
| Feb: Annual delivery copied from IRREFNCY.xls | [14 empty] | with a call on 12/04/03.
J-2 return

## 819 Phelps
[30 empty] | Canal surface acre = |  | 631 | acres
| Phelps Canal System | [15 empty] | Medicine Creek Dam - Station No. 5388
Annual
[15 empty] | Total | Net Evaporation Loss in [inches] | [12 empty] | Net Evaporation Loss in [acre-feet] | [10 empty] | Net | Annual
| Monthly Diversions in [ac-ft] | [11 empty] | Annual | Annual | System | [24 empty] | Evaporation | Seepage | Ratio | Monthly Seepage Losses in [ac-ft] | [12 empty] | Monthly Irrigation delivery in [ac-ft]
[13 empty] | Diversion | Deliveries | Loss | [24 empty] | Loss | Loss | Annual Seepage /
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | [ac-ft] | [ac-ft] | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | [ac-ft] | [ac-ft] | Annual Diversion | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
2004 | 0 | 0 | 0 | 5290.088 | 14180.6541 | 21931.4667 | 33686.584 | 45633.235 | 466.1573 | 0 | 0 | 0 | 121188.1851 | 52269 | 68919.1851 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 0 | 0 | 0 | 150.4935 | 228.6849 | 110.3724 | 6.6781 | 264.3364 | 80.6628 | 0 | 0 | 0 | 841.2282 | 68077.9569 | 0.56175 | 0 | 0 | 0 | 2971.7285 | 7966.0402 | 12320.0908 | 18923.5759 | 25634.6558 | 261.8658 | 0 | 0 | 0 | 68077.9569 | 0 | 0 | 0 | 2167.866 | 5985.9289 | 9501.0035 | 14756.3301 | 19734.2428 | 123.6287 | 0 | 0 | 0 | 52269
2005 | 0 | 0 | 0 | 3461.7493 | 6210.4987 | 15222.736 | 32588.0267 | 20348.4827 | 0 | 0 | 0 | 0 | 77831.4933 | 25382 | 52449.4933 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 0 | 0 | 0 | 144.2361 | 208.3878 | 101.3281 | 392.9027 | -32.181 | 0 | 0 | 0 | 0 | 814.6736 | 51634.8198 | 0.66342 | 0 | 0 | 0 | 2296.5871 | 4120.1571 | 10099.0383 | 21619.486 | 13499.5513 | 0 | 0 | 0 | 0 | 51634.8198 | 0 | 0 | 0 | 1020.9262 | 1881.9538 | 5022.3697 | 10575.638 | 6881.1124 | 0 | 0 | 0 | 0 | 25382
| Jan: Monthly diversion copied from CentralDataProcessing.xls; |  |  | [Total System Loss] | [12 empty] | Net evaporation loss in [acre-feet] computed for non-zero diversion months ONLY! | [12 empty] | [Annual seepage | Ratio computed |  |  | Monthly seepage values computed by proportioning; ratios computed in column AW were multiplied | [10 empty] | [monthly irrigation deliveries] = [diversions] - [seepage] - [net evaporation]
[14 empty] | IRREFNCY.xls | computed as | [25 empty] | loss] computed | as |  |  | by monthly diversion values; seepage proportion assumed constant for all months.
| Jan: Annual delivery copied from IRREFNCY.xls | [28 empty] | as
[15 empty] | [annual diversions] - | [26 empty] | [annual seepage] /
[15 empty] | [annual deliveries] | [25 empty] | [total system loss] - | [annual diversion]
[annual net evaporation
loss]

## 820 E65
E-65 Canal System
[44 empty] | Medicine Creek Dam - Station No. 5388 | [11 empty] | Canal surface area= |  | 301 | acres
Annual
[41 empty] | Total | [24 empty] | Net | Annual
| E-65 Diversion in [ac-ft] |  |  | (Diversion for E-65) | [9 empty] | Elwood Reservoir Outflow | [12 empty] | Net Monthly Diversion in [ac-ft] | [11 empty] | Annual | Annual | System |  | Net Evaporation Loss in [inches] | [11 empty] | Net Evaporation Loss in [acre-feet] | [10 empty] | Evaporation | Seepage | Ratio | Monthly Seepage Losses in [ac-ft] | [12 empty] | Monthly Irrigation delivery in [ac-ft]
[13 empty] | Annual | [12 empty] | Annual | [12 empty] | Diversion | Deliveries | Loss | [24 empty] | Loss | Loss | Annual Seepage /
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | [ac-ft] | [ac-ft] | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | [ac-ft] | [ac-ft] | Annual Diversion | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
2004 | 0 | 0 | 0 | 1389.3248 | 6210.3416 | 15167.2424 | 10633.248 | 13118.2907 | 0 | 0 | 0 | 0 | 46518.4475 | 0 | 0 | 0 | 0 | 0 | 0 | 7525.8907 | 15644.7493 | 0 | 0 | 0 | 0 | 23170.64 | 0 | 0 | 0 | 1389.3248 | 6210.3416 | 15167.2424 | 18159.1387 | 28763.04 | 0 | 0 | 0 | 0 | 69689.0875 | 40655 | 29034.0875 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 0 | 0 | 0 | 71.7885 | 109.0874 | 52.6499 | 3.1856 | 126.0939 | 0 | 0 | 0 | 0 | 362.8053 | 28671.2822 | 0.41142 | 0 | 0 | 0 | 571.592 | 2555.0407 | 6240.0629 | 7470.9801 | 11833.6065 | 0 | 0 | 0 | 0 | 28671.2822 | 0 | 0 | 0 | 745.9443 | 3546.2135 | 8874.5297 | 10684.9729 | 16803.3396 | 0 | 0 | 0 | 0 | 40655
2005 | 0 | 0 | 0 | 2124.368 | 5147.6533 | 6418.736 | 18061.592 | 11337.816 | 0 | 0 | 0 | 0 | 43090.1653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2124.368 | 5147.6533 | 6418.736 | 18061.592 | 11337.816 | 0 | 0 | 0 | 0 | 43090.1653 | 21162 | 21928.1653 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 0 | 0 | 0 | 68.8036 | 99.4052 | 48.3356 | 187.4227 | -15.351 | 0 | 0 | 0 | 0 | 388.6161 | 21539.5493 | 0.49987 | 0 | 0 | 0 | 1061.9112 | 2573.1656 | 3208.5437 | 9028.4766 | 5667.4521 | 0 | 0 | 0 | 0 | 21539.5493 | 0 | 0 | 0 | 993.6532 | 2475.0825 | 3161.8567 | 8845.6927 | 5685.7149 | 0 | 0 | 0 | 0 | 21162
[net monthly diversion] = [E-65 diversion] + [Elwood outflow]
| Feb: Monthly diversion copied from CentralDataProcessing.xls; | [28 empty] | [Total System Loss] | [41 empty] | [monthly irrigation deliveries] = [diversions] - [seepage] - [net evaporation]
computed as
Annual delivery copied from IRREFNCY.xls
[annual diversions] -
[annual deliveries]

## 821 E67
E-67 Canal System
[17 empty] | Medicine Creek Dam - Station No. 5388 | [12 empty] | Canal surface area= |  | 21 | acres
Annual
[15 empty] | Total | [24 empty] | Net | Annual
| Monthly Diversion in [ac-ft] | [11 empty] | Annual | Annual | System |  | Net Evaporation Loss in [inches] | [11 empty] | Net Evaporation Loss in [acre-feet] | [10 empty] | Evaporation | Seepage | Ratio | Monthly Seepage Losses in [ac-ft] | [12 empty] | Monthly Irrigation delivery in [ac-ft]
[13 empty] | Diversion | Deliveries | Loss | [24 empty] | Loss | Loss | Annual Seepage /
YEAR | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | [ac-ft] | [ac-ft] | [ac-ft] | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | [ac-ft] | [ac-ft] | Annual Diversion | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
2004 | 0 | 0 | 0 | 15.872 | 67.7371 | 786.8379 | 1766.1403 | 2561.2117 | 430.2552 | 0 | 0 | 0 | 5628.0541 | 5491 | 137.0541 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 0 | 0 | 0 | 5.0085 | 7.6108 | 3.6732 | 0.22225 | 8.7973 | 2.6845 | 0 | 0 | 0 | 27.9965 | 109.0576 | 0.019378 | 0 | 0 | 0 | 0.30756 | 1.3126 | 15.247 | 34.2234 | 49.6299 | 8.3373 | 0 | 0 | 0 | 109.0576 | 0 | 0 | 0 | 10.5559 | 58.8137 | 767.9177 | 1731.6946 | 2502.7846 | 419.2334 | 0 | 0 | 0 | 5491
2005 | 0 | 0 | 0 | 0 | 0 | 158.3893 | 1888.4836 | 1343.3829 | 0 | 0 | 0 | 0 | 3390.2559 | 3350 | 40.2559 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 0 | 0 | 0 | 0 | 0 | 3.3723 | 13.076 | -1.071 | 0 | 0 | 0 | 0 | 15.3773 | 24.8786 | 0.0073383 | 0 | 0 | 0 | 0 | 0 | 1.1623 | 13.8582 | 9.8581 | 0 | 0 | 0 | 0 | 24.8786 | 0 | 0 | 0 | 0 | 0 | 153.8548 | 1861.5494 | 1334.5958 | 0 | 0 | 0 | 0 | 3350
Monthly diversion copied from CentralDataProcessing.xls;
[15 empty] | [Total System Loss] | [25 empty] | [Annual seepage | Ratio computed | Monthly seepage values computed by proportioning; ratios computed in column AW were multiplied
| Jan: Annual delivery copied from IRREFNCY.xls |  |  | computed as | [25 empty] | loss] computed | as | by monthly diversion values; seepage proportion assumed constant for all months.
[41 empty] | as | [15 empty] | [monthly irrigation deliveries] = [diversions] - [seepage] - [net evaporation]
[15 empty] | [annual diversions] - | [26 empty] | [annual seepage] /
[15 empty] | [annual deliveries] | [25 empty] | [total system loss] - | [annual diversion]
[annual net evaporation
loss]

## 827 Elwood
Elwood Reservoir Mass Balance/Seepage Calculations for years 2001-2002
Medicine Creek Dam - Station No. 5388
[41 empty] | Reservoir surface area: |  | 1200 | acres
Net Evaporation Loss in [inches]
| Elwood Reservoir Inflow in acre-feet | [12 empty] | Elwood Reservoir Outflow in acre-feet | [24 empty] | Net Evaporation (0.7*Pan Evaporation - Precipitation) from Elwood Reservoir in acre-feet | [12 empty] | Elwood Reservoir Change in Storage in acre-feet | [11 empty] | Elwood Reservoir mass balance in acre-feet | [12 empty] | Elwood Reservoir Seepage in acre-feet
[13 empty] | Annual | [12 empty] | Annual | [24 empty] | Annual | [24 empty] | Annual | [12 empty] | Annual
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Seepage
2004 | 0 | 0 | 6102.536 | 14371.9486 | 12580.9491 | 3096.8002 | 0 | 0 | 0 | 0 | 0 | 0 | 36152.2339 | 0 | 0 | 0 | 0 | 0 | 0 | 7525.8907 | 15644.7493 | 0 | 0 | 0 | 0 | 23170.64 | 0.284 | 0.463 | -0.393 | 2.862 | 4.349 | 2.099 | 0.127 | 5.027 | 1.534 | 1.266 | 0.01 | 0.937 | 28.4 | 46.3 | -39.3 | 286.2 | 434.9 | 209.9 | 12.7 | 502.7 | 153.4 | 126.6 | 1 | 93.7 | 1856.5 | -757 | -669 | 4089 | 10964 | 7531 | -989 | -9569 | -14010 | -590 | -622 | -598 | -623 | 728.6 | 622.7 | 2052.836 | 3121.7486 | 4615.0491 | 3875.9002 | 2030.4093 | -2137.4493 | 436.6 | 495.4 | 597 | 529.3 | 16968.0939 | 728.6 | 622.7 | 2052.836 | 3121.7486 | 4615.0491 | 3875.9002 | 2030.4093 | 0 | 436.6 | 495.4 | 597 | 529.3 | 19105.5432
2005 | 0 | 0 | 0 | 0 | 936.448 | 6674.176 | 0 | 0 | 0 | 0 | 0 | 0 | 7610.624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.184 | 0.572 | -1.623 | 2.743 | 3.963 | 1.927 | 7.472 | -0.612 | 4.585 | 1.277 | 1.08 | 0.436 | 18.4 | 57.2 | -162.3 | 274.3 | 396.3 | 192.7 | 747.2 | -61.2 | 458.5 | 127.7 | 108 | 43.6 | 2200.4 | -552 | -393.25 | -422.5 | -534.5 | 323.25 | 4439 | -1340 | -901 | -714 | -680 | -591 | -610.15 | 533.6 | 336.05 | 584.8 | 260.2 | 216.898 | 2042.476 | 592.8 | 962.2 | 255.5 | 552.3 | 483 | 566.55 | 7386.374 | 533.6 | 336.05 | 584.8 | 260.2 | 216.898 | 2042.476 | 592.8 | 962.2 | 255.5 | 552.3 | 483 | 566.55 | 7386.374
If the mass balance calculation yielded a negative value, the seepage was set to zero. Otherwise, seepage is equal to the result of the
| Jan: Monthly Data Sources: | [51 empty] | [Elwood Reservoir mass balance] computed as | [13 empty] | mass balance.
[27 empty] | Monthly Data Source / Notes: | [12 empty] | Data manipulated to get net evaporation in [ac-ft] based on reservoir surface area. | [11 empty] | Monthly storage change was computed from daily storage as follows:
| Jan: Monthly, reservoir inflow, outflow, and storage change compiled from CNPPID data file: CentralDataPrecessing.xls | [51 empty] | [Elwood inflow] - [Elwood outflow] - [Net Evaporation from Elwood Reservoir surface] - [change in storage]
[27 empty] | Raw monthly pan evaporation and precipitation data in [inches] for Medicine Creek Dam | [12 empty] | A negative net evaporation value indicates a net gain in water to the system. | [11 empty] | [Last day storage of the month] - [First day storage of the month]
(Station No. 5388) Downloade from DNR website, which was compiled from EarthInfo data CD-ROM.
Where zero values existed in the precipitation record (Jan - Dec) and where
zeros existed in the evaporation record (Apr - Oct), monthly average values
were substituted.
For months in which precipitation data was available but evaporation data was not (Jan, Feb, Mar, Dec),
zero values were assumed for net evaporation.
Pan evap data multiplied by 0.7, then precipitation values subtracted from evaporation values to get
net evaporation.